An intra –and interrater reliability and agreement study of vaginal resting pressure, pelvic floor muscle strength and muscular endurance using manometer

Authors:

Merete Kolberg Tennfjord Msc a,b

aNorwegian School of Sport Sciences, Department of Sports Medicine, Oslo, Norway. bAkershus University Hospital, Department of Obstetrics and Gynecology, Lørenskog, Norway.

Marie Ellström Engh Professor, Consultant gynaecologist c,b

cInstitute of Clinical Medicine, University of Oslo, Oslo, Norway. bAkershus University Hospital, Department of Obstetrics and Gynecology, Lørenskog, Norway.

E-mail: m.e.engh@medisin.uio.no

Kari Bø Professor, Rector at the Norwegian School of Sport Sciences, PT, Exercise Scientist a

aNorwegian School of Sport Sciences, Department of Sports Medicine, Oslo, Norway.

E-mail: kari.bo@nih.no

Corresponding author

Merete Kolberg Tennfjord. Norwegian School of Sport Sciences, Department of Sports Medicine, PO Box 4014, Ullevål stadion, 0806 Oslo, Norway. Phone: +47 98 66 34 31, E-mail: merete.kolberg@gmail.com

Financial disclaimer/conflict of interest: none

Author contribution:

MK Tennfjord: Protocol/project development, data collection and management, data analysis, manuscript writing/editing

M Ellström Engh: Protocol/project development, manuscript writing/editing

K Bø: (main supervisor) Protocol/project development, manuscript writing/editing

Word count

Manuscript: 2892

Abstract: 250

Abstract:

Introduction and hypothesis: Manometry is commonly used to assess pelvic floor muscle (PFM) function. Aims of the study were to assess intra -and interrater reliability and agreement of vaginal resting pressure, PFM strength and muscular endurance using a high precision pressure transducer.

Methods: A convenient sample of 23 women was included. The participants were tested twice by two examiners day one and retested after one week by one examiner. Vaginal resting pressure, PFM strength and muscular endurance were measured by manometer (Camtech AS). Intraclass correlation coefficient (ICC) and Bland–Altman plots were used to analyze reliability and agreement, respectively.  Results are presented with mean differences (bias) and minimal detectable change.  
Results: Twenty participants completed (mean age 56.2 years (range 27-71), mean parity 1.7 (range 0-3) and mean body mass index 23.6 (range 18.4-27.2, SD 2.4). ICC values were very good (ICC >0.90) for all measurements. Considerable intervariation of scores, and outliers were seen for measurements representing the highest values. Agreement with mean differences (bias) and minimal detectable change for the intrarater assessment was for vaginal resting pressure: -2.44 ±8.7 cmH2O, for PFM strength -0.22 ±7.6 cmH2O and for muscular endurance 0.75 ±59.49 cmH2Osec. The interrater agreement for vaginal resting pressure was: 1.36 ±9.0 cmH2O, for PFM strength 2.24 ±9.0 cmH2O and for muscular endurance 15.89 ±69.7 cmH2Osec.
Conclusions: Manometry (Camtech AS) seems less accurate for the strongest women. In clinical practice, significant improvement in PFM variables needs to exceed the minimal detectable change to be above the error of measurement.

Keywords

Pelvic floor, reliability, manometer, vaginal resting pressure, pelvic floor muscle strength, muscular endurance

Brief summary

Manometry (Camtech AS) seems less accurate for the strongest women and a significant improvement in PFM variables needs to exceed the minimal detectable change.

Introduction

A correct, voluntary pelvic floor muscle (PFM) contraction has been described as an elevation and a squeeze around the pelvic openings [1]. It is primarily the levator ani muscle that is responsible for this function. Furthermore, at rest the levator ani muscle keeps a constant tone to keep the urogenital hiatus of the levator ani closed [2]. Vaginal resting pressure, PFM strength and muscular endurance may be assessed in several ways; visual observation and palpation, electromyography, vaginal pressure measurements (manometry), dynamometry and imaging, such as magnetic imaging techniques and ultrasonography [3, 4].

In physiotherapy practices, manometer is the most common method of assessing PFM function [4]. In general manometer has been established as a reliable assessment method for PFM strength [5-7]. However, comparing results across studies using different devices are not possible [8]. To date, randomized controlled trials (RCT) have demonstrated significant improvements in PFM strength and endurance after pelvic floor muscle training (PFMT) using manometer (Camtech AS, Sandvika, Norway) [9-11]. Observational studies have also shown statistically significant differences in vaginal resting pressure in symptomatic and asymptomatic women [12, 13]. While good reliability and validity for PFM strength has been established [14, 15], the reliability and agreement of vaginal resting pressure and muscular endurance has not been assessed using Camtech AS, nor has interrater reliability and agreement for PFM strength been assessed.

The International Continence Society Clinical Assessment Group recommended studies on intra –and interrater variability for PFM function; voluntary contraction and relaxation [3]. Thus, the aims of the present study were to assess intra –and interrater reliability and agreement of vaginal resting pressure PFM strength and muscular endurance.

Materials and methods

Subjects and design

This intra -and interrater reliability and agreement study was performed at a physiotherapy center in Sandvika, Norway from March 2015 to April 2015. A convenient sample of 23 women was recruited to evaluate the intra –and interrater reliability and agreement of PFM function measured by manometer (Camtech AS). The sample of 23 women was based on previous reliability studies in the field [5-7, 14]. The women received information through leaflets available in the reception area at the center or they were encouraged to participate in the study during general group fitness classes. Inclusion criterion was ability to contract the PFM correctly, defined as an inward movement and squeeze around the pelvic openings assessed by observation and palpation [1, 15]. No grading of PFM strength was done for inclusion purposes. Exclusion criterion was inability to understand instructions given in any of the Scandinavian languages. To avoid a possible effect of training/detraining, the participants were asked not to change PFMT habits between testing days. To keep anonymity the participants received a unique ID number which was the only link between the examination and the woman. The Regional Medical Ethics Committee (2014/1768) approved the study and the Data Protection Officer at Akershus University hospital (15-018) was informed about the study. All participants gave written informed consent to participate. The study procedures were in accordance with the World Medical Association, Helsinki Declaration (2013) [16]. The applied terminology follows recommendations from the clinical assessment group of the International Continence Society, except where specifically noted [3]. The Guidelines for Reporting Reliability and Agreement Studies (GRRAS) studies were followed [17].

Procedure and apparatus

Two women's health physiotherapists were involved in the study. Participants were tested twice on the same day by two independent physiotherapists. The order in which they were examined was random. One week later one physiotherapist MKT re-tested the same group of women at the same time-point as test one. The physiotherapists were blinded to each-others results and the results from test one were unavailable during test two. Both physiotherapists had thorough training before conducting the study. The training included: positioning of the participant and assessor, verbal instructions, catheter placement, recording of measurements and analysis. All participants answered a short questionnaire prior to the examination including: age, level of education, if they had strenuous physical work, weight, height, parity and any symptoms from the pelvic floor (urinary and anal incontinence, pelvic organ prolapse (vaginal bulging, pelvic pressure), pelvic floor pain, other).

The procedures were recorded on a flat bench with a small pillow underneath the head. The physiotherapist was sitting at the examination table next to the woman supporting one leg while the other leg of the woman was resting against a pillow to the wall. The participating women were given a short anatomy lecture and were taught how to perform a correct PFM contraction using observation and palpation [1, 15] before measurement was taken using the instructions: “Breathe slowly in and out”. ”You are ready”. ”Lift and squeeze your pelvic floor – lift as hard as you can”. ”Let go and breathe out slowly”. The sequence for muscle testing was as follows: three repetitions of maximum voluntary contractions lasting approximately three seconds each with approximately six seconds rest in between. Less than one minute rest was allowed before muscular endurance was tested. PFM contraction without any movement of the pelvis or visible contraction of the glutei-, hip- or abdominal muscles was emphasized [14, 15].

Vaginal resting pressure, PFM strength and muscular endurance were measured using a high precision pressure transducer connected to a vaginal balloon (Camtech AS) (Fig. 1). After compressing the balloon 10-20% to allow for air expansion at body temperature, the balloon catheter was connected to the fibertip and calibrated in air. A lubricating gel was applied to the balloon catheter. The device was positioned with the middle of the balloon 3.5 cm internal to the introitus in the vaginal high pressure zone [18], a method found to be reliable an valid for assessment of PFM strength, with simultaneous observation of an inward movement of the catheter and no use of extra-pelvic muscle contraction [14, 15]. To control placement and movement of the balloon, the physiotherapist held the catheter with the thumb and index finger during and prior to every measurement. The physiotherapist followed the movement of the catheter during contraction. The atmospheric pressure on the balloon was calibrated to zero cmH2O for each woman before it was placed in the vagina. Vaginal resting pressure was measured as the difference between the atmospheric pressure and the vaginal high pressure zone at rest, with no voluntary PFM activity, and was registered as cmH2O. The measurement was taken before the first contraction and registered as a flat curve after the woman was instructed to relax and given time to slowly breathe in and out. PFM strength was measured from the resting pressure line till the peak, not including the resting pressure, reported as the mean of three maximum voluntary contractions, and registered as cmH2O. Local muscular endurance is the ability of a muscle to sustain near maximal or maximal force, assessed by the time a person is able to maintain a maximal static or isometric contraction [19], and was quantified as the area under the curve during ten seconds, measured during one attempt and registered as cmH2Osec (Fig. 2). Using the area under the curve will include the force applied during a specific time (10 sec). To ensure maximal tension in the muscle it is commonly recommended that the contraction is held >six sec [20]. Local muscular endurance may also be defined as the ability to repeatedly develop near maximal or maximal force determined by number of repetitions [19], but using time in seconds will not give details on the exact force.

Manometer analysis

Data showing pressure values and pressure curves was stored at the apparatus’ hard disk using the unique ID number for each woman. Each physiotherapist analyzed their own measurement.

Statistical analysis

Statistical analysis was performed using SPSS version 15. All parameters were measured once, except for PFM strength were the mean of three contractions was used for analyses. Demographic data and results were given as mean values with standard deviations (SD), or, in case of categorical data, as counts (%). Normality tests were performed. Intra –and interrater reliability was analysed with the intraclass correlation coefficient (ICC, average measures) using a two-way mixed model for absolute agreement with 95% confidence interval (CI). ICC values under 0.20 were considered poor, 0.21– 0.40 fair, 0.41–0.60 moderate, 0.61–0.80 good and 0.81–1.00 very good. One sample t-test was used to calculate the mean difference (bias) between measurements and the corresponding SD and 95% CI. To assess agreement, the Bland-Altman approach was used [21]. This method assesses for systematic bias and random error using the mean difference and 95% limits of agreement (1.96 SD). Minimal detectable change was calculated to identify the smallest amount of change above the threshold of error using the SD of the mean difference (bias) multiplied with 1.96 SD [22].

Results

One woman was excluded due to inability to insert the probe (owing to restricted vaginal opening) and one woman did not meet for her scheduled appointment. Furthermore, one had to be excluded owing to poor image quality, leaving 20 women for analysis (mean age 56.2 years (range 27-71), mean parity 1.7 (range 0-3) and mean body mass index 23.6 (range 18.4-27.2, SD 2.4). The majority, 18 (85.7%), had a college/university degree and 10 (47.6%) reported having strenuous physical work. All participants knew of PFMT and they were all able to perform a correct PFM contraction after instructions. Fourteen (66.7%) reported that they sometimes experienced minor symptoms from the pelvic floor (urinary incontinence, vaginal dryness and urinary tract infection). Two were pregnant with their second child, second and third trimester. None of the above conditions interfered with the placement of the catheter or the procedure.

Intra -and interrater analysis are shown in Table 1 and 2, respectively. There was considerably intervariation of scores as seen from the large SD in the first two rows. ICC values were very good for all measurements for both intra -and interrater assessments (ICC >0.90).

Results from the Bland-Altman plot are illustrated in Fig. 3, showing vaginal resting pressure (a+b), PFM strength (c+d) and muscular endurance (e+f). When looking at the dots in the plot, one can see that the distribution of scores was right-skewed, and that the limits of agreement were relatively wide. There was also a slight bias as the centre line deviated from zero (Fig.3); vaginal resting pressure (mean difference -2.44 (95% CI -0.36, -4.51) in the intrarater assessment and PFM strength (mean difference 2.24 (95% CI 0.03, 4.45) in the interrater assessment (Table 1 and 2). Outliers were observed in all measurements, were the majority represented the strongest women (Fig. 3).

Discussion

This intra –and interrater reliability and agreement study showed very good ICC values (>0.90) for vaginal resting pressure, PFM strength and muscular endurance using manometer. Agreement as seen in the Bland-Altman plot was poorer. The sample heterogeneity could explain these findings [21]. Systematic bias was statistically significant for two measurements. Visual inspection of the data showed a right-skewed distribution of scores and outliers representing the strongest women. Hence, the manometer used in this study seems less accurate for the strongest women and could potentially underestimate the highest scores and overestimate the lowest scores.

In a similar study by Bø et al [14], test-retest on PFM strength using the same manometer was performed. The authors concluded that the test results were reproducible, but wide confidence intervals imply to some degree inaccuracy around their estimates. This is in line with findings from the present study and corresponds with previous studies using different types of manometers [5-7, 14]. However, results from the above cited studies are not directly comparable due to use of different measurement devices [8]. Measurements recorded for the strongest women were more problematic than measurements recorded for the weakest women. The vaginal probe may be pulled more inside the vagina during contraction, and may not have been in the high pressure zone [23], a possible explanation for the outliers seen in our sample. For the probe to stay in the high pressure zone [18], the assessors had to control the movement of the probe which could yield a potential source of error. The use of dynamometry might be less sensitive to the movement of the apparatus during contraction as the device is more fixed inside the vagina [24]. Dumoulin et al [24] concluded good reliability for PFM strength, but with a coefficient of variation (CV%) of 21% some degree of random error were present. We have not been able to find studies on muscular endurance using the same manometer as this present study. Therefore, direct comparisons of studies due to different apparatus and methods for  measurements [8] are challenging. Frawley et al [6] measured multiple repeated muscle contractions (20 fast contractions) with the Peritron and concluded poor reliability (ICC 0.05-0.42) in lying positions. Poor reliability for muscular endurance as measured as one minute maximum contraction was also found by use of dynamometer (dependability indices of 0.10) [24].

Vaginal resting pressure was measured prior to PFM muscle contraction. This method was chosen since it has been used in previous studies using the same manometer [9, 12, 13]. Although no voluntary muscle contraction was seen (stable pressure values and a flat curve), outliers were also seen for this measurement. Using Peritron, Frawley et al [6]  found good reliability (ICC 0.74-0.77) for vaginal resting pressure in lying positions. The use of dynamometer has also shown “enough” reliability for the passive properties of the PFM in postmenopausal women [25]. However, “enough” is hard to quantify as there is lack of data on normal values for the resting condition of the PFM [3]. Although surface electromyography (EMG) is not recommended to assess function of the PFM, rather than presence/absence of muscle activation, it could be that surface EMG might be a more reliable tool to assess the resting condition of the PFM as no voluntary muscle activation is present and the measurement would be less biased by cross-talks from nearby muscles at rest than during contraction [3, 26].

Previous randomized controlled trials on women with stress urinary incontinence and pelvic organ prolapse, using Camtech AS, [9-11] have shown statistically significant improvement in PFM strength and muscular endurance after PFMT. These improvements has been close to or above what we found was the minimal detectable change for PFM strength; (8.2 cmH2O (p< 0.03)) and (15.5 cmH2O (p < 0.01)) [10, 11] and 13.1 cmH2O and for muscular endurance; 107 cmH2O (p<0.001) [9]. Two recent observational studies also found statistically significant differences for vaginal resting pressure of 3.6 cmH2O (95% CI 0.7, 6.6) and 3.3 cmH2O (p-value 0.02) respectively [12, 13] in women with and without vaginal laxity and between women with provoked vestibulodynia and asymptomatic controls, respectively. According to the results from this present study, differences of 3.6 and 3.3 cmH2O may be results of measurement error. However, although gain in PFM function may be low and clinically non-significant, women may still report significant improvement in symptoms after PFMT [27].

Strengths and limitations

The heterogeneity of participants representing the clinical everyday life, standardisation of test procedures and use of recommended statistical methods are strengths of this study [15, 18, 22, 28]. The physiotherapists had been thoroughly trained by the supervisor of the project KB and had extensive experience in use of the method.. All women in the sample knew of PFMT and were able to perform a correct contraction after receiving instructions. Although less likely, we cannot rule out a possible learning effect.  The number of participants included could be another limitation. Regarding sample size, the number of women in this study was in line with previous studies in this field [5-7, 14]. However, including more women into the study may have given a better estimate to the limits of agreement [28], but probably not changed the overall outcome. Although we included a heterogeneous group of women, we could still question the generalizability of the results. Our results indicate that the apparatus seem less accurate for the strongest women in this sample. This means that the limits of agreement could be wider apart than they should for the lowest scores and narrower than they should for the highest scores [21]. Based on results from this present study, it is important for clinicians to be aware that to evaluate improvement over the error of measurement after conservative treatments, the gain has to exceed the minimal detectable change.

The clinical relevance of using manometer could be the visual biofeedback obtained during a PFM contraction giving extra motivation for maximum contraction. In addition it may be motivating to follow the development of quantifiable data on PFM function throughout an exercise period. However, in countries were such measurement tools are not available due to cost and feasibility; palpation should still be the core measurement. However, assessors need to be aware of the limitations of palpation and reported low inter-rater reliability [4, 29].

Conclusions

Compared to previous studies in this field, using the same device, this study present new data on the reliability and agreement of vaginal resting pressure, PFM strength and muscular endurance. Very good ICC values were found, however agreement using the Bland Altman approach was poorer. Outliers were women with the strongest PFM. Thus, Camtech AS seems less accurate for the strongest women and could potentially underestimate the highest scores and overestimate the lowest scores. For use in clinical practice, examiners must be aware that a significant improvement in PFM variables needs to exceed the minimal detectable change to be above the error of measurement.

Acknowledgements

This project has been made possible by the Norwegian ExtraFoundation for Health and Rehabilitation and the Norwegian Women’s Public Health Association.

The authors thank physical therapist Vigdis Skøld for participating in data collection, physical therapist Hilde Løset Myrvang and Vest Helse for help with recruitment and location, Professor Ingar Holme (PhD) and Morten Wang Fagerland (PhD) for valuable statistical advice and medical doctor Franziska Siafarikas (PhD) for valuable discussions and advice to the manuscript.

Funding

This project has been made possible by the Norwegian ExtraFoundation for Health and Rehabilitation and the Norwegian Women’s Public Health Association.

References

1.	Kegel AH. Stress incontinence and genital relaxation; a nonsurgical method of increasing the tone of sphincters and their supporting structures. Ciba Clin Symp. 1952;4:35-51.

2.	Ashton-Miller JA, Delancey JOL. Functional anatomy of the female pelvic floor. In: Bø K, Berghmans B, Mørkved S, Van Kampen M, editors. Evidence-based physical therapy for the pelvic floor Bridging science and clinical practice. 2 ed. Philadelphia: Churchill Livingstone Elsevier; 2015. p. 19-34.

3.	Messelink B, Benson T, Berghmans B, Bo K, Corcos J, Fowler C, et al. Standardization of terminology of pelvic floor muscle function and dysfunction: report from the pelvic floor clinical assessment group of the International Continence Society. Neurourol Urodyn. 2005;24:374-380.

4.	Bø K, Sherburn M. Evaluation of female pelvic-floor muscle function and strength. Phys Ther. 2005;85:269-282.

5.	Sigurdardottir T, Steingrimsdottir T, Arnason A, Bø K. Test-retest intra-rater reliability of vaginal measurement of pelvic floor muscle strength using myomed 932. Acta Obstet Gynecol Scad. 2009;88:939-943.

6.	Frawley HC, Galea MP, Phillips BA, Sherburn M, Bø K. Reliability of pelvic floor muscle strength assessment using different test positions and tools. Neurourol Urodyn. 2006;25:236-242.

7.	Ferreira CH, Barbosa PB, de Oliveira Souza F, Antonio FI, Franco MM, Bø K. Inter-rater reliability study of the modified Oxford Grading Scale and the Peritron manometer. Physiotherapy. 2011;97:132-138.

8.	Bø K, Raastad R, Finckenhagen HB. Does the size of the vaginal probe affect measurement of pelvic floor muscle strength? Acta Obstet Gynecol Scand. 2005;84:129-133.

9.	Brækken IH, Majida M, Engh ME, Bø K. Can pelvic floor muscle training reverse pelvic organ prolapse and reduce prolapse symptoms? An assessor-blinded, randomized, controlled trial. Am J Obstet Gynecol. 2010;203:170 e171-177.

10.	Bø K, Talseth T, Holme I. Single blind, randomised controlled trial of pelvic floor exercises, electrical stimulation, vaginal cones, and no treatment in management of genuine stress incontinence in women. BMJ. 1999;318:487–493.

11.	Bø K, Hagen RH, Kvarstein B, Jørgensen J, Larsen S. Pelvic Floor Muscle Exercise for the Treatment of Female Stress Urinary Incontinence: III. Effects of Two Different Degrees of Pelvic Floor Muscle Exercises. Neurourol Urodyn. 1990;9:489-502.

12.	Næss I, Bø K. Pelvic floor muscle function in women with provoked vestibulodynia and asymptomatic controls. Int Urogynecol J. 2015;26:1467–1473.

13.	Tennfjord MK, Hilde G, Staer-Jensen J, Siafarikas F, Engh ME, Bo K. Coital Incontinence and Vaginal Symptoms and the Relationship to Pelvic Floor Muscle Function in Primiparous Women at 12 Months Postpartum: A Cross-Sectional Study. J Sex Med. 2015;12:994-1003.

14.	Bø K, Hagen R, Kvarstein B, Larsen S. Pelvic floor muscle exercise for the treatment of female stress urinary incontinence: I. Reliability of vaginal pressure measurements of pelvic muscle strength. Neurourol Urodyn. 1990;9:471-477.

15.	Bø K, Hagen RR, Kvarstein B, Larsen S. Pelvic floor muscle exercise for the treatment of female stress urinary incontinence. II. Validity of vaginal pressure measurements of pelvic muscle strength and the necessity of supplementary methods for control of correct contraction. Neurourol Urodyn. 1990;9:479-487.

16.	WMA. Declaration of Helsinki-Ethical Principles for Medical Research Involving Human Subjects Fortaleza Brazil 2013 [30.09.2016]. Available from: www.wma.net/en/30/publictions/10policies/b3/.

17.	Kottner JA, Audige L, Brorson S, Donner A, Gajewski BJ, Hròbjartsson A, et al. Guidelines for Reporting Reliability and Agreement Studies (GRRAS) were proposed. Int J Nurs Stud. 2011;48:661–671.

18.	Bø K. Pressure measurements during pelvic floor muscle contractions: the effect of different positions of the vaginal measuring device. Neurourol Urodyn. 1992;11:107-113.

19.	Wilmore JH, Costill DL. Physiology of sport and exercise. 2 ed. Leeds: Human Kinetics; 1999.

20.	Åstrand PO, Rodahl K, Dahl HA. Textbook of work physiology; physiological basis of exercise: Human Kinetics, Champaign, IL; 2003.

21.	Bland JM, Altman DG. Statistical methods for assessing agreement between two methods of clinical measurement. The Lancet 1986;8:307-310.

22.	Atkinson G, Nevill AM. Statistical Methods For Assessing Measurement Error (Reliability) in Variables Relevant to Sports Medicine. Sports Med. 1998;217-238.

23.	Guaderrama NM, Nager CW, Liu J, Pretorius DH, Mittal RK. The vaginal pressure profile. Neurourol Urodyn. 2005;24:243–247.

24.	Dumoulin C, Gravel D, Bourbonnais D, Lemieux MC, Morin M. Reliability of Dynamometric Measurements of the Pelvic Floor Musculature. Neurourol Urodyn. 2004;23:134-142.

25.	Morin M, Gravel D, Bourbonnais D, Dumoulin C, Ouellet S. Reliability of Dynamometric Passive Properties of the Pelvic Floor Muscles in Postmenopausal Women With Stress Urinary Incontinence. Neurourol Urodyn. 2008;27:819–825.

26.	Vodusek DB. Electromyography. In: Bø K, Berghmans B, Mørkved S, Van Kampen M, editors. Evidence based physical therapy for the pelvic floor Bridging science and clinical practice. 2 ed. Philadelphia: Churchill Livingstone Elsevier; 2007. p. 56-63.

27.	Tennfjord MK, Hilde G, Stær-Jensen J, Siafarikas F, Ellström Engh M, Bø K. Effect of postpartum pelvic floor muscle training on vaginal symptoms and sexual dysfunction—secondary analysis of a randomised trial. BJOG. 2015;

28.	De Vet HCV, Terwee CB, Mokkink LB, Knol DL, editors. Measurement in medicine a practical guide. United States of America, New York: Cambridge University Press; 2011.

29.	Bø K, Finckenhagen HB. Vaginal palpation of pelvic floor muscle strength: inter-test reproducibility and comparison between palpation and vaginal squeeze pressure. Acta Obstet Gynecol Scand. 2001;80:883–887.

Figure legends

Figures

Figure 1. Camtech AS, Sandvika, Norway

Figure 2. Pressure curves from one participant showing vaginal resting pressure, pelvic floor muscle strength and muscular endurance.

Figure 3. Bland-Altman plot showing vaginal resting pressure (a+b), pelvic floor muscle (PFM) strength (c+d) and muscular endurance (e+f). The differences between the tests/assessors are plotted against each individual’s mean for the two tests. The bias line and random error lines forming the 95% limits of agreement are presented.

Table 1. Intrarater reliability analysis for vaginal resting pressure (VRP), pelvic floor muscle strength (PFM strength) and muscular endurance for assessor one. N=20

|  |  | Test 1 | Test 2 | ICC (95% CI) | Bias (95%CI) | SD | Limits of agreement | Minimal detectable change |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Lower | Upper |  |
|  | VRP cmH2O | 24.36 (SD 9.50) | 21.93 (SD 6.96) | 0.91 (0.72, 0.97) | -2.44 (-4.51, -0.36) | 4.44 | -11.13 | 6.26 | 8.7 cmH2O |
|  | PFM strength cmH2O | 21.42 (SD 13.19) | 21.20 (SD 13.80) | 0.98 (0.95, 0.99) | -0.22 (-2.05, 1.60) | 3.89 | -7.86 | 7.41 | 7.6 cmH2O |
|  | Muscular endurance cmH2Osec | 144.30 (SD 88.47) | 145.05 (SD 99.99) | 0.98 (0.94, 0.99) | 0.75 (-13.46,14.96) | 30.35 | -58.74 | 60.24 | 59.49 cmH2O |

Bias=Test one – test two

Table 2. Interrater reliability analysis for vaginal resting pressure (VRP), pelvic floor muscle (PFM) strength and muscular endurance. N=20

|  |  | Assessor 1 | Assessor 2 | ICC (95%CI) | Bias (95%CI) | SD | Limits of agreement | Minimal detectable change |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Lower | Upper |  |
|  | VRP cmH2O a | 24.13 (SD 9.70) | 25.49 (SD 11.81) | 0.95 (0.88, 0.98) | 1.36 (-0.86, 3.58) | 4.60 | -7.66 | 10.38 | 9.0 cmH2O |
|  | PFM strength cmH2O a | 21.56 (SD 13.54) | 23.80 (SD 13.18) | 0.96 (0.90, 0.99) | 2.24 (0.03, 4.45) | 4.58 | -6.74 | 11.22 | 9.0 cmH2O |
|  | Muscular endurance cmH2Osec a | 145.74 (SD 90.65) | 161.63 (SD 92.98) | 0.96 (0.88, 0.98) | 15.89 (-1.26, 33.04) | 35.58 | -53.85 | 85.64 | 69.7 cmH2O |

a n=one value missing for assessor two. Assessor one being the first author (MKT). Bias=assessor two – assessor one.